## Sheet1
ANAL | Silicate-Low.ANL |  |  | ANAL | Silicate-Low,ANL |  |  | ANAL | Silicate-Low.ANL
RUN | 210127Ajorge.RUN |  |  | RUN | 210210A,RUN |  |  | RUN | 210309 jorge 2.RUN
DATE | 27.01.2021 |  |  | DATE | 10.02.2021 |  |  | DATE | 2021-03-09
TIME | 11:10:43 |  |  | TIME | 10:05 |  |  | TIME | 11:32
OPER | mn |  |  | OPER |  |  |  | OPER
COMM |  |  |  | COMM |  |  |  | COMM
TYPE |  |  | Real | TYPE |  |  | Real | TYPE |  |  | Real
CHAN |  |  | 1 | CHAN |  |  | 1 | CHAN |  |  | 1
METH |  |  | Silicate | METH |  |  | Silicate | METH |  |  | Silicate
UNIT |  |  | mg/L | UNIT |  |  | mg/L | UNIT |  |  | mg/L
Base |  |  | -7508 | Base |  |  | -7443 | Base |  |  | -7465
Gain |  |  | 24 | Gain |  |  | 21 | Gain |  |  | 20
Lamp |  |  | 266 | Lamp |  |  | 266 | Lamp |  |  | 266
Sample ID | Cup Number |  | Results 1 | Sample ID | Cup Number |  | Results 1 | Sample ID | Cup Number |  | Results 1
Primer | 901 |  | 27.681 | Primer | 901 |  | 27.723 | Primer | 901 |  | 25.836
Drift | 901 |  | 26.828 | Drift | 901 |  | 26.696 | Drift | 901 |  | 25.052
Cal. | 901 | 26.750 | 26.721 | Cal, | 901 | 26.75 | 26.724 | Cal. | 901 | 25.000 | 25.149
Cal. | 902 | 5.350 | 5.500 | Cal, | 902 | 5.35 | 5.483 | Cal. | 902 | 5.000 | 5.173
Cal. | 903 | 1.070 | 1.051 | Cal, | 903 | 1.07 | 1.06 | Cal. | 903 | 1.000 | 0.918
High | 901 |  | 26.512 | High | 901 |  | 25.516 | High | 901 |  | 25.270 | Final values
Low | 903 |  | 1.032 | Low | 903 |  | 1.018 | Low | 903 |  | 0.950 |  |  |  | Sample ID | Silicate (aq) mg/l
Low | 903 |  | 1.041 | Low | 903 |  | 1.052 | Low | 903 |  | 0.927 | Sample ID | Silicate (aq) mg/l | 1 | 1-1 | 0.213
1-1 | 1 |  | 0.000 | 1-1 | 1 |  | 0.213 | 1-1 | 1 |  | -0.019 | 1-1 | 0.213 | 2 | 1-2 | 9.88
1-2 | 2 |  | 9.839 | 1-2 | 2 |  | 9.88 | 1-2 | 2 |  | 9.143 | 1-2 | 9.88 | 3 | 1-3 | 9.218
1-3 | 3 |  | 9.218 | 1-3 | 3 |  | 9.278 | 1-3 | 3 |  | 8.720 | 1-3 | 9.218 | 4 | 2-1 | 12.108
1-A1 | 4 |  | 8.961 | 1-A1 | 4 |  | 9.102 | 1-A1 | 4 |  | 8.190 | 1-A1 | 8.961 | 5 | 2-2 | 12.566
1-A2 | 5 |  | 8.809 | 1-A2 | 5 |  | 8.919 | 1-A2 | 5 |  | 7.994 | 1-A2 | 8.809 | 6 | 2-3 | 16.132
1-A3 | 6 |  | 8.935 | 1-A3 | 6 |  | 9.033 | 1-A3 | 6 |  | 8.204 | 1-A3 | 8.935 | 7 | 3-1 | 16.949
1-S1 | 7 |  | 0.316 | 1-S1 | 7 |  | 1.094 | 1-S1 | 7 |  | 0.115 | 1-S1 | 0.316 | 8 | 3-2 | 0.466
1-S2 | 8 |  | 0.151 | 1-S2 | 8 |  | 0.664 | 1-S2 | 8 |  | -0.042 | 1-S2 | 0.151 | 9 | 3-3 | 21.314
1-S3 | 9 |  | 10.263 | 1-S3 | 9 |  | 10.492 | 1-S3 | 9 |  | 9.578 | 1-S3 | 10.263 | 10 | 4-1 | 0.991
1-G1 | 10 |  | 15.905 | 1-G1 | 10 |  | 15.001 | 1-G1 | 10 |  | 13.670 | 1-G1 | 15.001 | 11 | 4-2 | 1.045
1-G2 | 11 |  | 16.066 | 1-G2 | 11 |  | 16.272 | 1-G2 | 11 |  | 14.856 | 1-G2 | 16.066 | 12 | 4-3 | 20.966
1-G3 | 12 |  | 15.993 | 1-G3 | 12 |  | 16.155 | 1-G3 | 12 |  | 14.859 | 1-G3 | 15.993 | 13 | 5-1 | 2.004
High | 901 |  | 27.543 | High | 901 |  | 25.917 | High | 901 |  | 24.678 |  |  | 14 | 5-2 | 2.444
Low | 903 |  | 0.938 | Low | 903 |  | 0.949 | Low | 903 |  | 0.899 |  |  | 15 | 5-3 | 4.226
Low | 903 |  | 1.039 | Low | 903 |  | 0.988 | Low | 903 |  | 0.896 |  |  | 16 | 1-A1 | 8.961
2-1 | 13 |  | 13.251 | 2-1 | 13 |  | 12.108 | 2-1 | 13 |  | 0.743 | 2-1 | 12.108 | 17 | 1-A2 | 8.809
2-2 | 14 |  | 12.566 | 2-2 | 14 |  |  | 2-2 | 14 |  | 1.416 | 2-2 | 12.566 | 18 | 1-A3 | 8.935
2-3 | 15 |  | 16.738 | 2-3 | 15 |  | 16.132 | 2-3 | 15 |  | 15.004 | 2-3 | 16.132 | 19 | 2-A1 | 10.751
2-A1 | 16 |  | 11.193 | 2-A1 | 16 |  | 10.751 | 2-A1 | 16 |  | 10.033 | 2-A1 | 10.751 | 20 | 2-A2 | 8.803
2-A2 | 17 |  | 10.407 | 2-A2 | 17 |  | 8.803 | 2-A2 | 17 |  | 6.520 | 2-A2 | 8.803 | 21 | 2-A3 | 5.871
2-A3 | 18 |  | 5.871 | 2-A3 | 18 |  | 5.999 | 2-A3 | 18 |  | 1.948 | 2-A3 | 5.871 | 22 | 3-A1 | 10.267
2-S1 | 19 |  | 22.010 | 2-S1 | 19 |  | 20.781 | 2-S1 | 19 |  | 19.400 | 2-S1 | 20.781 | 23 | 3-A2 | 9.638
2-S2 | 20 |  | 22.273 | 2-S2 | 20 |  | 20.981 | 2-S2 | 20 |  | 19.947 | 2-S2 | 20.981 | 24 | 3-A3 | 13.097
2-S3 | 21 |  | 23.627 | 2-S3 | 21 |  | 22.365 | 2-S3 | 21 |  | 21.224 | 2-S3 | 22.365 | 25 | 4-A1 | 10.217
2-G1 | 22 |  | 20.871 | 2-G1 | 22 |  | 20.31 | 2-G1 | 22 |  | 19.220 | 2-G1 | 20.30 | 26 | 4-A2 | 11.45
2-G2 | 23 |  | 20.980 | 2-G2 | 23 |  | 20.735 | 2-G2 | 23 |  | 19.320 | 2-G2 | 20.735 | 27 | 4-A3 | 10.473
2-G3 | 24 |  | 22.437 | 2-G3 | 24 |  | 21.164 | 2-G3 | 24 |  | 19.869 | 2-G3 | 21.164 | 28 | 5-A1 | 12.407
High | 901 |  | 27.511 | Baseline | 0 |  | -0.097 | Baseline | 0 |  | -0.172 |  |  | 29 | 5-A2 | 12.283
Low | 903 |  | 0.918 | Drift | 901 |  | 26.696 | Drift | 901 |  | 25.052 |  |  | 30 | 5-A3 | 16.482
Low | 903 |  | 1.022 | High | 901 |  | 25.89 | High | 901 |  | 24.683 |  |  | 31 | 1-S1 | 0.316
3-1 | 25 |  | 17.492 | 3-1 | 25 |  | 16.949 | 3-1 | 25 |  | 16.164 | 3-1 | 16.949 | 32 | 1-S2 | 0.151
3-2 | 26 |  | 0.046 | 3-2 | 26 |  | 0.829 | 3-2 | 26 |  | 0.466 | 3-2 | 0.466 | 33 | 1-S3 | 10.263
3-3 | 27 |  | 21.402 | 3-3 | 27 |  | 21.314 | 3-3 | 27 |  | 19.968 | 3-3 | 21.314 | 34 | 2-S1 | 20.781
3-A1 | 28 |  | 10.994 | 3-A1 | 28 |  | 10.267 | 3-A1 | 28 |  | 8.946 | 3-A1 | 10.267 | 35 | 2-S2 | 20.981
3-A2 | 29 |  | 9.638 | 3-A2 | 29 |  | 10.374 | 3-A2 | 29 |  | 8.336 | 3-A2 | 9.638 | 36 | 2-S3 | 22.365
3-A3 | 30 |  | 13.097 | 3-A3 | 30 |  | 13.292 | 3-A3 | 30 |  | 12.157 | 3-A3 | 13.097 | 37 | 3-S1 | 25.218
3-S1 | 31 |  | 25.218 | 3-S1 | 31 |  | 25.369 | 3-S1 | 31 |  | 23.931 | 3-S1 | 25.218 | 38 | 3-S2 | 24.964
3-S2 | 32 |  | 24.964 | 3-S2 | 32 |  | 25.275 | 3-S2 | 32 |  | 24.029 | 3-S2 | 24.964 | 39 | 3-S3 | 20.471
3-S3 | 33 |  | 20.471 | 3-S3 | 33 |  |  | 3-S3 | 33 |  | 1.314 | 3-S3 | 20.471 | 40 | 4-S1 | 3.306
3-G1 | 34 |  | 14.781 | 3-G1 | 34 |  | 14.706 | 3-G1 | 34 |  | 13.365 | 3-G1 | 14.706 | 41 | 4-S2 | 3.291
3-G2 | 35 |  | 6.743 | 3-G2 | 35 |  | 8.655 | 3-G2 | 35 |  | 3.846 | 3-G2 | 6.743 | 42 | 4-S3 | 3.691
3-G3 | 36 |  | 14.781 | 3-G3 | 36 |  | 14.476 | 3-G3 | 36 |  | 13.244 | 3-G3 | 14.476 | 43 | 5-S1 | 21.061
Baseline | 0 |  | -0.102 | Baseline | 0 |  | -0.097 | Baseline | 0 |  | -0.172 |  |  | 44 | 5-S2 | 4.226
Drift | 901 |  | 26.828 | Drift | 901 |  | 26.696 | Drift | 901 |  | 25.052 |  |  | 45 | 5-S3 | 22.6
High | 901 |  | 26.176 | High | 901 |  | 25.305 | High | 901 |  | 24.481 |  |  | 46 | 1-G1 | 15.001
Low | 903 |  | 0.948 | Low | 903 |  | 0.896 | Low | 903 |  | 0.868 |  |  | 47 | 1-G2 | 16.066
Low | 903 |  | 1.006 | Low | 903 |  | 0.915 | Low | 903 |  | 0.880 |  |  | 48 | 1-G3 | 15.993
4-1 | 37 |  | 0.328 | 4-1 | 37 |  | 1.301 | 4-1 | 37 |  | 0.991 | 4-1 | 0.991 | 49 | 2-G1 | 20.3
4-2 | 38 |  | 0.553 | 4-2 | 38 |  | 1.527 | 4-2 | 38 |  | 1.045 | 4-2 | 1.045 | 50 | 2-G2 | 20.735
4-3 | 39 |  | 22.477 | 4-3 | 39 |  | 20.966 | 4-3 | 39 |  | 19.407 | 4-3 | 20.966 | 51 | 2-G3 | 21.164
4-A1 | 40 |  | 10.217 | 4-A1 | 40 |  | 12.15 | 4-A1 | 40 |  | 5.017 | 4-A1 | 10.217 | 52 | 3-G1 | 14.706
4-A2 | 41 |  | 11.450 | 4-A2 | 41 |  | 12.746 | 4-A2 | 41 |  | 11.360 | 4-A2 | 11.45 | 53 | 3-G2 | 6.743
4-A3 | 42 |  | 9.964 | 4-A3 | 42 |  | 12.083 | 4-A3 | 42 |  | 10.473 | 4-A3 | 10.473 | 54 | 3-G3 | 14.476
4-S1 | 43 |  | 2.842 | 4-S1 | 43 |  | 4.665 | 4-S1 | 43 |  | 3.306 | 4-S1 | 3.306 | 55 | 4-G1 | 9.721
4-S2 | 44 |  | 3.036 | 4-S2 | 44 |  | 4.724 | 4-S2 | 44 |  | 3.291 | 4-S2 | 3.291 | 56 | 4-G2 | 2.533
4-S3 | 45 |  | 11.509 | 4-S3 | 45 |  | 6.301 | 4-S3 | 45 |  | 3.691 | 4-S3 | 3.691 | 57 | 4-G3 | 5.244
4-G1 | 46 |  | 11.091 | 4-G1 | 46 |  | 9.721 | 4-G1 | 46 |  | 8.436 | 4-G1 | 9.721 | 58 | 5-G1 | 0.645
4-G2 | 47 |  | 2.533 | 4-G2 | 47 |  | 5.398 | 4-G2 | 47 |  | 1.731 | 4-G2 | 2.533 | 59 | 5-G2 | 0.69
4-G3 | 48 |  | 6.046 | 4-G3 | 48 |  | 5.244 | 4-G3 | 48 |  | 0.125 | 4-G3 | 5.244 | 60 | 5-G3 | 1.069
High | 901 |  | 27.155 | High | 901 |  | 26.752 | High | 901 |  | 25.062
Low | 902 |  | 5.788 | Low | 902 |  | 5.625 | Low | 902 |  | 5.152
Low | 902 |  | 5.568 | Low | 902 |  | 5.499 | Low | 902 |  | 5.150
5-1 | 49 |  | 1.921 | 5-1 | 49 |  | 2.493 | 5-1 | 49 |  | 2.004 | 5-1 | 2.004
5-2 | 50 |  | 2.444 | 5-2 | 50 |  | 2.879 | 5-2 | 50 |  | 2.400 | 5-2 | 2.444
5-3 | 51 |  | 4.226 | 5-3 | 51 |  | 5.067 | 5-3 | 51 |  | 2.762 | 5-3 | 4.226
5-A1 | 52 |  | 12.407 | 5-A1 | 52 |  | 12.851 | 5-A1 | 52 |  | 12.199 | 5-A1 | 12.407
5-A2 | 53 |  | 11.914 | 5-A2 | 53 |  | 12.816 | 5-A2 | 53 |  | 12.283 | 5-A2 | 12.283
5-A3 | 54 |  | 16.770 | 5-A3 | 54 |  | 16.482 | 5-A3 | 54 |  | 15.881 | 5-A3 | 16.482
5-S1 | 55 |  | 21.379 | 5-S1 | 55 |  | 21.061 | 5-S1 | 55 |  | 20.897 | 5-S1 | 21.061
5-S2 | 56 |  | 4.104 | 5-S2 | 56 |  | 5.248 | 5-S2 | 56 |  | 4.226 | 5-S2 | 4.226
5-S3 | 57 |  | 22.602 | 5-S3 | 57 |  | 22.6 | 5-S3 | 57 |  | 21.979 | 5-S3 | 22.6
5-G1 | 58 |  | 0.400 | 5-G1 | 58 |  | 2.604 | 5-G1 | 58 |  | 0.645 | 5-G1 | 0.645
5-G2 | 59 |  | 0.690 | 5-G2 | 59 |  | 3.465 | 5-G2 | 59 |  | 0.815 | 5-G2 | 0.690
5-G3 | 60 |  | 0.851 | 5-G3 | 60 |  | 3.29 | 5-G3 | 60 |  | 1.069 | 5-G3 | 1.069
Baseline | 0 |  | -0.102 | Baseline | 0 |  | -0.097 | Baseline | 0 |  | -0.172
Baseline | 0 |  | -0.102 | Baseline | 0 |  | -0.097 | Baseline | 0 |  | -0.172
Drift | 901 |  | 26.828 | Drift | 901 |  | 26.696 | Drift | 901 |  | 25.052
Drift | 901 |  | 26.828 | Drift | 901 |  | 26.696 | Drift | 901 |  | 25.052
End | 0 |  | -0.102 | End | 0 |  | -0.097 | End | 0 |  | -0.172